Ammonia Refrigeration Safety

Safety Training Handout

- Exposure to ammonia can lead to:

- Breathing problems

- Suffocation

- Unconsciousness

- Burns

- Death

- Ammonia injuries/deaths are usually caused by problems with:

- Lockout/tagout

- PPE

- Hazard communication

- Fire safety

- Process safety

- Maintenance is key for preventing leaks:

- The system should run smoothly and quietly.

- Purge air from the lines to prevent high pressure.

- Cap or plug drain valves.

- Replace corroded piping, valves, etc.

- Review safety and system priorities.

- Ensure that all needed PPE is readily accessible.

- For more info, check online:

- www.ashrae.org (American Society of Heating, Refrigerating and 
Air-Conditioning Engineers)

- www.epa.gov/air/caa (Clean Air Act)

- www.iiar.org (International Institute of Ammonia Refrigeration)

- www.uwfc.org (United Food and Commercial workers)